#L41

Q: How do I get started on my new ETS system?

Getting Started On Your ETS

Installation of your ETS tester is surprisingly easy.  It consists of three basic steps:

- Assemble the computer as described in the instructions included with the PC.

- Mount the ETS system in the cart.
Always position the tester with two 
feet of air space around all sides.

- Connect the interface cable and power cable, and plug in the TestBox.

You can download the QuickInstall guide at the Q’nApps Application Notes page on our website.  Also obtain a copy of HiLevel’s QuickStart guide if you don’t already have one.  It will help you with your initial power-up, diagnostics, and calibration, as well as developing your first test.

By spending time with your ETS before your training, you’ll be prepared to ask valuable questions during a training class.  Our focus in training can then be to make you an advanced user rather than just a “better beginner”. If you have further questions about getting started or would like to purchase a training class, email us or call 1-800-HILEVEL.

© 2001 HILEVEL Technology Inc.