#L30

Q: How do I use HILEVEL's Analog Panel feature?

#### Analog Functions with Analog Panel

This feature was initiated by an (analog) instrument's inability to analyze complex and very low frequencies. To solve the customer's predicament without adding another instrument, we turned to a basic resource of all HiLevel testers: The power and flexibility of the HiLevel HRISC. This I/O processor, capable of performing very accurate timing measurements, was ideally suited for the task at hand. The solution proved to be very successful. The appropriate button on the LaunchPad is made visible by the Special Script keyword 'AllowAnalogPanel'.  Special Scripts are invoked from the Translators window.

The original Analog Panel feature and module were replaced by the HiLevel MX Mixed signal option.  The MX option can only be used on ETS700 and Dragon series systems, and requires ETS2k software.  For use of the original Analog Panel, see the Analog Resource II manual on our Special Resources homepage.

## View of Original Analog Panel in ETSNT

Also See:

Q'nApp #L15: Special Scripts

© 2000 HILEVEL Technology Inc